DISINFECTION STUDY GUIDE
1. Name two reasons why chlorine is a common disinfectant.

2. Name three important parameters impacting disinfection.

3. Name two physical and two chemical (excluding chlorine) agents that can be used as disinfectants.

4. What are chloramines?  How are they formed?  Do they have disinfecting power?
5. What is the difference between disinfection and sterilization?
6. What are DBPs?  How are they formed?  Name 2 common DBPs.
7. State Chick’s law.

8. What chemicals are used in place of chlorine gas?

9. What compounds contribute to free residuals and combined chlorine residuals?

10. What are advantages and disadvantages of ozone as a disinfecting agent?

Disinfection By Products (DBPs)

Reaction of Chlorine with Organics in water and wastewater

HOCl  + NOM (Natural Organic Matter)  =  Oxidized NOM ​  + HAA + THM

HAA Haloacetic Acids- mono,di, tri - chloroacetic acid

THM Trihalomethanes  (carcinogenic  The current limit for THMs is 100 ppb)  Choloroform, Bromoform, bromodichloromethane, dibromochloromethane
7.  Breakpoint chlorination data for a water is provided below.

a) What is the chlorine dose to reach breakpoint?

b) Determine the chlorine dose required to attain a total residual of 0.35 mg/L?   

c)  What is the chlorine dose required to maintain a free residual of 0.5 mg/L?  
[image: image1.png]Relationship between log and
percent inactivation

Log inactivation i a measure of the percent of microorganisms that are nactivated
durng the disnfecton process and is defined 25:

Loginctvtion i selsted to thepercntinacivaton, defined 5:
ww-[n-%}-m




[image: image4.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

0.5

1

1.5

2

2.5

Chlorine Dose mg/L

Chlorine Residual mg/L

[image: image5.emf]K  =  

C

t

n

 


d)   Why is there no residual at a chlorine dose of 0.1 mg/L?

e)   Why does the residual decrease from point A to B?

Chick-Watson’s Law

If Chick's Law is combined with the concentration product concept, a relationship dealing with both  time, concentration, and degree of lethality can be established.  Watson observed that the concentration time product was a function of the degree of disinfection as well as other factors including the microorganism present.  
It has been observed that the destruction of microorganisms is a function of the concentration of disinfectant and the time of contact, or, 

[image: image6.wmf]0

0.2

0.4

0.6

0.8

1

1.2

0

0.5

1

1.5

2

2.5

Chlorine Dose mg/L

Chlorine Residual mg/L


where,

K
=
constant for a particular disinfectant and microorganism, [mg/L-min or mg/L-sec]

C
=
disinfectant concentration, [mg/L]

t
=
contact time, [min or sec] or detention time
n
=
empirical constant

This relationship holds true only for a given set of conditions, e.g., constant pH, temperature, and a specific microorganism. 
For a coagulation plant 0.5 log inactivation of Giardia is needed.

For untreated surface water, a 3 log inactivation is needed

Physical removal of microbes is termed log removal or inactivation (LR)
[image: image7.emf]K  =  

C

t

n

 


% removal = 100-100/10LR
[image: image2.png][#) 20181030085907834.pdf - Adobe Acrobat Reader DC - X
File Edit View Window Help

Home  Tools 201810300859078... X @ A signin

® 8 = Q ® © 1 DO - R T AL

[3 Export POF v
s
Vs gt i o oscttion o G 1 by e it 10°C
o e IR P T 0 Create PDF v
T T T T
T e 0 g g R W T

= i
To o wa e o T R 2
" o noswo@ onow nowe s W s e o: Edit PDF
NonnsEa §30% Do -
Fonraaa P Tk "
P §n B i
Boown g R i 8o n B comment
HoonEnaNe @ 5o b
Houbsag ae Dol e i
Ponsuna ‘ Do n o
Lodwugnt u B 4 CombineFiles v

[ K Wom o w
owaweadn I wo i
Boowon b oan v B "
i R " W &

e

Organize Pages ~ ~

Adobe AcrobatProDC Ty

e that may scquiv tctivation i Cryprosporiium, Craptospo- Deletelieexmctiias
T e R
e processes are discussed in later sections, e (V) PR
o oo b th it iy i aspress th fnarivation et o
Seica oo v i i 5 ok s Tk e e v
el s e o o, b b o o
¢ b eIy sepresonied by fog
on. Log removal (1LR) can be found ns: "’ tos

(6-63)

rval for o series of data is 1o be determined, then the averages for the 4 fRedact
TS S 1 e da il o e st

% romovat -~ 100 - 190, Py Protect
" 10
A city measured the concentration of serobic spores in Its raw and imi;
e e s o o L] Criutmtes
e S T o o o el B o oo
T ciry dito re on Tollows:
< = Fill & Sign
T
00,000 i
0000 Adobe Sign
170,000
150,000
170000 [ Send for Review
50000
o comvert that 1o percent roval Automaticaly collect comments from reviewers

log removal i found by finding the average raw and finished water ks
g s S o e

L. and the finished average concentration 1s 6.43. Therefore,
( 170114

Convert and edit PDFs
with Acrobat Pro DC

Start Free Tral




[image: image3.png][2) 20181030085917455.pdf - Adobe Acrobat Reader DC
Fie Edt View Window Help

Home  Tools

B ®8 =3 Q

201810300859078...

201810300859174... %

=)

]
R A

(UNCHC)

DISINFECTION CT RULE (Page 337-339)
Learn to Use Table 6-15

a) Awater treatment plant is aiming for a log inactivation of 2.5 for Giardia
cysts at 10°Cand a pH of 7. What is the required time of kill in minutes if
the plant uses a chlorine dose of 2 mg/L?

Using table go to pH 7 and log inactivation 2.5. Use the Chlorine dose of 2.0 to
find the corresponding Ct value of 103 mg.min/L

Therefore time = 103/2=51.5 minutes

b) A drinking water treatment plant uses a chlorine dose of 1.8 mg/Lfora
contact period of 45 minutes at a pH of 7 and a temperature of 100C. What
is the Ct value and what is log inactivation for Giardia cysts and % removal?

Ct=1.8 mg/L * 45 min = 81 mg.min/L
Corresponding Log inactivation is 2.0 from table.

% removal of Giardia = 100-100/1042 =99%

5]

@ 2

[3 Export POF
N Create PDF
2 editpoF
B comment
Combine Files
£[] Organize Pages
Adobe Acrobat Pro DC

Delete, insert, extract, or rotate
pages

> 2 Redact

Protect

s

] Optimize PDF
Fill & Sign
Adobe Sign

[ Send for Review

#% More Tools

wgper)

.,a,:JuLL'W Lisa lza‘/w&m 7
- ‘ tados 3 o<

Litnded

Convert and edit PDFs
with Acrobat Pro DC

Start Free Trial




B





A





� EMBED Excel.Sheet.8  ���





� EMBED Word.Document.8 \s ���





Log removal or








_1001320974.xls
Chart2

		0

		0.2

		0.3

		0.4

		0.5

		0.6

		0.7

		0.8

		0.9

		1

		1.1

		1.2

		1.4

		1.6

		1.8

		2



Chlorine Residual

Chlorine Dose mg/L

Chlorine Residual mg/L

0

0.02

0.1

0.2

0.3

0.4

0.5

0.55

0.3

0.1

0.08

0.13

0.38

0.58

0.78

0.98



Sheet1

		Chlorine Dose		Chlorine Residual

		0		0

		0.2		0.02

		0.3		0.1

		0.4		0.2

		0.5		0.3

		0.6		0.4

		0.7		0.5

		0.8		0.55

		0.9		0.3

		1		0.1

		1.1		0.08

		1.2		0.13

		1.4		0.38

		1.6		0.58

		1.8		0.78

		2		0.98





Sheet1

		



Chlorine Residual

Chlorine Dose mg/L

Chlorine Residual mg/L



Sheet2

		





Sheet3

		






_1223710910.doc





_915970268




