Freshman Clinic II


Spring 2002
Dr. Kauser Jahan

Water Quality Laboratory

Engineering Objectives

1. To learn about parameters that characterize water quality

2. To measure water quality parameters using analytical equipment 
Sources of Water

· Groundwater

· Surface Water

· Oceans

· Reclaimed Wastewater
Purposes for Water Treatment
· Disinfection
· Removal of Turbidity

· Removal of Color, and Tastes & Odors

· Removal of Iron & Manganese

· Hardness removal

· Protection from Toxic Organics and Inorganics
Drinking Water Standards

Primary

· Protection of Human Health

· Organics: Pesticides, Solvents, Fuels

· Inorganics: Metals.

· Radionuclides: Beta particles, alpha particles, radon

· Microbes: viruses, bacteria, protozoa, helminthes
Secondary

· Related to Aesthetics

· Taste
· Odor
· Clarity
· Color
Water Quality Parameters 

Turbidity - The tendency of water to scatter light at 90 degrees. Turbidity is a measure of water clarity. Caused by suspended solids (thus, turbidity is an indirect measure of suspended solids). Measured in NTUs, using a Turbidimeter. For most people, water with <= 5 NTUs looks clear. The American Water Works Association (AWWA) recommends that water to be disinfected should be <= 0.1 NTU. 

Color - True color is caused by dissolved compounds in water. It can be natural or anthropocentric. Dissolved and suspended solids (together) cause apparent color. For example, brown colored water could be the result of dissolved byproducts of plant biodegradation (true color) or suspended clay particles (apparent color) or both (also apparent color). Color is measured in Platinum-Cobalt units. The AWWA recommends <= 15 Platinum Cobalt units. This is also the U.S. secondary drinking water regulation. Color can be measured using light with a wavelength of 455 nm. 

Pathogens - Pathogens are disease-causing microorganisms. 

pH – pH indicates the intensity of the acid or alkaline condition of a solution.    It expresses the hydrogen ion concentration.  pH is an important factor that impacts most water treatment processes such as disinfection, coagulation, water softening and corrosion control.  The term may be represented by

pH = -log[H+]

Alkalinity- The alkalinity of water is a measure of its capacity to neutralize acids.  Three major classes of materials cause the major portion of alkalinity in natural waters.  These are as follows: (1) hydroxide  (2) carbonates and (3) bicarbonates.   Bicarbonates represent the major form of alkalinity.

Hardness - Hardness is caused by the presence of divalent cations.  Such ions are capable of reacting with soap to form precipitates with certain anions present in the water to form scale.  The main cations causing hardness are calcium, magnesium, ferrous iron and managanous ions.  Waters are normally classified in terms of the degree of hardness as follows:

	mg/L as Ca CO3
	Degree of Hardness

	0-75
	Soft

	75-150
	Moderately Hard

	150-300
	Hard

	300 up
	Very Hard


Organic Compounds- There are a number of methods for determination of organics such as the Total Organic Carbon Analyzer and the Chemical Oxygen Demand Test.  Most organic compounds show absorbance at 254 nm. 

Conductivity- This is a measure of the presence of ions (cations and anions) in solution.

Nitrate- Nitrate is a primary drinking water standard.  Their presence also causes the blue-baby syndrome in infants.  Nitrate is also a nutrient for algae and can stimulate growth of algae.
Total Iron-   Humans suffer no harmful effects from drinking waters containing iron.  However iron can impart taste to water and impart objectionable stains to plumbing fixtures.  Iron oxidation can also lead to scale formation.

Laboratory Exercise

· Each team will obtain a sample of Rowan Pond water.  Characterize the Rowan Pond water.  

· Filter 1 L of pond water through your water filter.  Characterize the filtered water.  

· Calculate % removal of various contaminants.  

· Comment on the water quality before and after use of your filter.

· Compare your filter performance to other teams.

Sample Data Collection Form
	Filter Brand
	Parameter
	Rowan Pond Water
	Filtered Water
	% Removal

	
	pH
	
	
	

	
	Alkalinity
	
	
	

	
	Hardness
	
	
	

	
	Conductivity
	
	
	

	
	Turbidity
	
	
	

	
	Color
	
	
	

	
	Organics
	
	
	

	
	Nitrate
	
	
	

	
	Total Iron
	
	
	


