# Freshman Engineering Clinic                                                          Spring 2014

Dr. Kauser Jahan, P.E.

#### Gas Transfer

# Background

Gas transfer is a vital unit operation in many environmental engineering processes.  It involves either desorption or adsorption of gas.  The transfer of oxygen to liquid systems is particularly important in oxidation of iron and manganese in water treatment and in the biological treatment of wastewaters.   Gas transfer is also extremely important in the operation of aquariums.    Aquariums typically use various types of gas transfer devices to provide oxygen for the living organisms.  Aeration systems are designed to promote turbulence and break the water into smaller volumes of droplets, increasing the surface area for mass transfer.  Gravity or pressurized flow systems are typically used.  Gas transfer devices include porous plastic diffusers, fine bubble diffusers, air curtains, membrane diffusers, disk diffusers etc. [1].

Objective:  The objective of this laboratory is to expose students to the fundamentals of gas transfer through an oxygen transfer experiment in water.  Students will also determine the gas transfer rate (Kla) for select commercial diffusers use din aquariums.

## Determination of the Overall Gas Transfer Coefficient

## Gas transfer means simply the process of allowing any gas to dissolve in a fluid or the opposite of that, promoting the release of a dissolved gas from a fluid.  The figure below shows a system where air is forced through a tube and a porous diffuser, creating very small bubbles that rise through clean water.

DO Meter

DO Probe

Air

Diffuser

## The transfer of oxygen takes place through the bubble gas-liquid interface.  If the gas inside the bubble is air, and an oxygen deficit exists in the water, the oxygen transfers from the bubble into the water.  Most gases are only slightly soluble in water; among these are hydrogen, oxygen and nitrogen [2].  Solubility is influenced by many variables such as the presence of impurities, salinity, pressure and temperature. The dissolved oxygen concentration in water increases with decrease in temperature.  Typical values for rivers and streams are 3-4 mg/L to sustain aquatic life.

## Lewis and Whitman (1924) indicated that aeration kinetics can be expressed as :

dCdt=KLa(C*−C)

where C* = saturation concentration of oxygen in water (mg/L), KLa = overall gas transfer coefficient (sec-1), t = time (sec) and C = actual concentration of oxygen (mg/L). Rearranging for integration yields

CoCt−dCC*−C=KLa0t−dt

Integrating and rearranging gives

ln(C* – Ct) = ln(C* - Co) - KLat

The above equation is of the straight line form y = mx+c; thus ln(C* - Ct) versus time, t, gives a line with slope KLa.

Apparatus:  Dissolved Oxygen Probe and Meter, Air Pump, Air Diffuser, Stopwatch

Procedure:

- Record temperature so that you can determine C* (saturation concentration).

- Add some cobalt chloride and then some sodium sulfite to the water in the aeration reactors.  Make sure that the diffuser is turned OFF and the stirrer is ON!!!

- Keep observing the (DO) dissolved oxygen concentration in the DO meter.  Keep adding sodium sulfite till a steady DO value of 2-3 mg/L is obtained.

- Record the temperature.

- Now turn the stirrer OFF and the air sparger ON.

- Start recording DO values every 10 seconds for the first couple of minutes and then record readings every minute.

- Stop the experiment after 10 minutes.  Take two sets of reading.

- Repeat experiment if time permits with a different type of diffuser.

- Plot the data to obtain the value of the overall mass transfer coefficient KLa.

Results

Report your results in a tabular form as shown below.

| Temperature | C* mg/L | Time | Ct mg/L | ln(C* - Ct) mg/L |
| --- | --- | --- | --- | --- |

Plot your data and report the value of KLa with appropriate units.

LABEL GRAPH CORRECTLY WITH APPROPRIATE UNITS.

Time (Units)

ln(C*-Ct)

Lab Report:  Make sure you include the theory of gas transfer and explain why certain chemicals are added with reactions.  Raw data must be placed in an appendix.  Plots must be included in the results section.  You need to report calculated values of Kla with correct units.

Data needs to include statistical analyses of the value of Kla for your two diffusers as indicated below:

| Diffuser | Run 1 Kla | Run 2 Kla | Average | Standard Deviation | Standard Error | t value at 95% | Report CI upper and lower |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A |  |  |  |  |  |  |  |
| B |  |  |  |  |  |  |  |

Plot mean Kla with error bars at the 95% Confidence interval for both diffusors.  Comment whether the means are statistically different or the same.

References:

[1] http://www.aquaticeco.com/index.cfm/fuseaction/listings.categories/ssid/391

[2] Lewis, W.K. and Whitman, W.G. (1924). “Principles of gas absorption,” Industrial and

Engineering Chemistry, Vol.16, pp. 1215–1220.

[2] Vesilind, A. (2002) Introduction to Environmental Engineering, PWS Publishers.