### CEE 311  Environmental Engineering  I

Dr. Kauser Jahan

# CHAPTER 3: Reactors

## Types of Reactors

Batch, Plugflow and Completely Mixed Flow Reactor (CMFR)

Batch Reactors – No flow.  Material is added. Well mixed and given time for reaction to occur, then drained. NO steady state is attained.

CMFR-reactors with flow, completely mixed and can attain steady state

Plug Flow- has flow, however no mixing in lateral direction

MASS BALANCE

Rate accumulated = in – out +  produced /consumed

BATCH FLOW

Rate accumulated = +  produced /consumed

or for a first order reaction dC/dt = - kC

Or   C  = e-kt

Co

CMFR

Rate accumulated = in – out +  produced /consumed

At steady state

For a pollutant being removed

0 = QCo – Qc –kCV  or Co = C + Ck td  where td = V/Q

Or Co = C(1+ktd)  or C =

Steady State = When a system is operated in such a way that the rate of input and the rate of output are constant and equal (i.e. rate of accumulation is zero) then the condition is called steady state.

Detention Time (retention Time, Hydraulic retention time) = Volume/Flowrate  (make sure units are consistent)

Example Problems

- An industrial wastewater treatment process uses activated carbon to remove color from the water.  The color is reduced as a first order reaction in a batch reactor.  If the reaction rate is 0.35 day-1 how long will it take to remove 90% of the color?

- A wastewater contains contaminant "A" with an initial concentration of 1200 mg/L.  It is to be treated in a batch reactor.  The reaction of A to products is assumed to be first order.  The rate constant, k, is 2.5/day.  Determine the time required to convert 75 percent of A to products.

- A contaminated soil is to be excavated and treated in a mixed lagoon.  Data was gathered as follows from studies in a batch reactor for the soil treatment:

| Time (Days) | Waste Concentration (mg/L) |
| --- | --- |
| 1 | 280 |
| 16 | 132 |

Assume the reaction is first order.  How long will it take to achieve 99% reduction in the soil contaminant concentration?

4.  A circular chlorination tank for killing microorganisms in the effluent from a wastewater treatment plant is to be designed.  A 99.99% kill of the microbes in the wastewater is required.  The flowrate is 1000 m3/hr.  Disinfection is a first order reaction and the reaction rate is 20.0 min-1.  What is the residence time in hours?   What is the volume of the CMFR in m3?  If the depth of a circular reactor is 10 m, what is its diameter in m?

- A CMFR is operating at steady state at a flowrate of 4 L/min and at an inflow gloop concentration of 400 mg/L.  The volume is 60 L.  The reaction is first order and the gloop concentration in the reactor is 100 mg/L.

- What is the reaction rate in min-1?

- What is the detention time in hours?

- What is the % removal of gloop?

- If an identical reactor was added to the existing one, what would the new gloop concentration be in the effluent?  What is the overall % removal?