## Solution
THIS SHEET FOR PROFESSOR'S USE ONLY
Scenario* |  |  | MATLAB Output* |  | Economic Evaluation* | [5 empty] | Sheet Calculations Explained
MARR | 0.04 |  | Solar Power Needed, W | 1500 | Solar System Economic Evaluation |  |  | Diesel Generator Economic Evaluation |  |  | Annual Water Consumption = Water Consumption x Population
Population | 2250 |  | Diesel Power Needed, W | 1500 | End of Year | Cash Flow, $ | Sum PW, $ | End of Year* | Cash Flow, $ | Sum PW, $ | Annual Value of Water Supply = Water Value x Annual Water Consumption
Water Consumption, l/p/d | 8 |  | Pump Power Needed, W | 1200 | 0 | -7670 | -7670 | 0 | -5110 | -5110 | Number of Solar Panels = Solar Power Needed / Solar Panel Capacity
Location Data (Import Excel) | NA |  | *Made up for purpose of this Sheet |  | 1 | 2562.72 | -5107.28 | 1 | 1988.8635 | -3121.1365 | Solar System Capital Cost = Solar Panel Price x Number of Solar Panels + Solar System Installation x Solar Power Needed
Water Lift, m | 5 |  |  |  | 2 | 2562.72 | -2544.56 | 2 | 1988.8635 | -1132.2729 | Annual Solar O&M = Annual Solar System O&M x Solar Power Needed
Water Transport, m | 1000 |  |  |  | 3 | 2562.72 | 18.16 | 3 | 1988.8635 | 856.5906 | Diesel System Capital Cost = Diesel Generator Price + Diesel System Installation x Diesel Power Needed
Solar Panel Efficiency | 0.25 |  |  |  | 4 | 2562.72 | 2580.88 | 4 | 1988.8635 | 2845.4541 | Annual Diesel O&M = Annual Diesel System O&M x Diesel Power Needed
Solar System Lifetime, y | 20 | ⬅Piping & electrical also |  |  | 5 | 2562.72 | 5143.6 | 5 | 1988.8635 | 4834.3177 | Annual Diesel Consumption = Diesel Fuel x Diesel Power Needed x 365 x 12
Solar System Installation, $/W | 1.5 |  |  |  | 6 | 2562.72 | 7706.32 | 6 | 1988.8635 | 6823.1812 |  | Assuming generator runs 12 hrs per day
Annual Solar System O&M, $/W | 0.01 |  |  |  | 7 | 2562.72 | 10269.04 | 7 | 1988.8635 | 8812.0448 | Annual Diesel Fuel Cost = Annual Diesel Consumption x Diesel Fuel Price
Diesel System Installation, $/W | 0.1 |  |  |  | 8 | 2562.72 | 12831.76 | 8 | 1988.8635 | 10800.9083 | Pump System Capital Cost = Pump Price + Pump Installation x Pump Power Needed + Pipe Cost & Installation x Water Transport + Valves/Faucets/Meters
Annual Diesel System O&M, $/W | 0.02 |  |  |  | 9 | 2562.72 | 15394.48 | 9 | 1988.8635 | 12789.7718 | Annual Pump O&M = Annual Pump System O&M x Pump Power Needed
Diesel Generator & Pump Lifetimes, y | 10 | ⬅Leave at half of Solar |  |  | 10 | 2562.72 | 17957.2 | 10 | 1188.8635 | 13978.6354 | Cash Flow End of Year 0, Solar = -Solar System Capital Costs - Pump System Capital Costs
Diesel Fuel, l/W/h (Full Load) | 0.00010633 | ⬅https://www.globalpwr.com/power-calculator/ |  |  | 11 | 2562.72 | 20519.92 | 11 | 1988.8635 | 15967.4989 | Cash Flow End of Year 0, Diesel = -Diesel System Capital Costs - Pump System Capital Costs
Pump Installation, $/W | 0.05 |  |  |  | 12 | 2562.72 | 23082.64 | 12 | 1988.8635 | 17956.3624 | Cash Flow End of Year 1 to 20, Solar = Annual Value of Water Supply - Annual Solar O&M - Annual Pump O&M
Annual Pump System O&M, $/W | 0.02 |  |  |  | 13 | 2562.72 | 25645.36 | 13 | 1988.8635 | 19945.226 | Cash Flow End of Year 1 to 20, Diesel* = Annual Value of Water Supply - Annual Diesel O&M - Annual Diesel Fuel Cost - Annual Pump O&M
Pipe Cost & Installation, $/m | 4 | ⬅Assume O&M costs for pump and pipes are zero |  |  | 14 | 2562.72 | 28208.08 | 14 | 1988.8635 | 21934.0895 |  | *Cash Flow End of Replacement Year, Diesel = Normal Cash Flow - Diesel Generator Price - Pump Price
Valves/Faucets/Meters , $ | 100 |  |  |  | 15 | 2562.72 | 30770.8 | 15 | 1988.8635 | 23922.953 |  | (Neglecting installation cost at replacement)
*Provided by professor. Change red cells with care. |  |  |  |  | 16 | 2562.72 | 33333.52 | 16 | 1988.8635 | 25911.8166 | PW = Present Worth, $ (use MARR as interest rate)
[5 empty] | 17 | 2562.72 | 35896.24 | 17 | 1988.8635 | 27900.6801 |  | MARR = Minimum Acceptable Interest Rate (to client)
Student Inputs* |  |  | Sheet Outputs* |  | 18 | 2562.72 | 38458.96 | 18 | 1988.8635 | 29889.5436 | RoR = Rate of Return, i.e., interest rate of bank account equivalent to project
Water Value, $/m^3 | 0.396 |  | Annual Water Consumption, m^3 | 6570 | 19 | 2562.72 | 41021.68 | 19 | 1988.8635 | 31878.4072 | Simple Payback = year in which project benefit exceeds costs, NOT taking into account MARR
Solar Panel Capacity, W | 315 |  | Annual Value of Water Supply, $ | 2601.72 | 20 | 2562.72 | 43584.4 | 20 | 1988.8635 | 33867.2707
Solar Panel Price, $/panel | 200 |  | Number of Solar Panels | 4.8
Diesel Generator Price, $ | 500 |  | Solar System Capital Cost, $ | 3210 | PW, $ | 27158.2011 |  | PW, $ | 21378.8532
Diesel Fuel Price, $/l | 0.8 |  | Annual Solar O&M, $ | 15 | RoR | 33.31% |  | RoR | 38.63%
Pump Price, $ | 300 |  | Diesel System Capital Cost, $ | 650 | Simple PB, y | 3 |  | Simple PB, y | 3
All salvage values, $ | 0 |  | Annual Diesel O&M, $ | 30
*Estimated by students |  |  | Annual Diesel Consumption, l** | 698.5706
|  |  | Annual Diesel Fuel Cost, $ | 558.8565
|  |  | Pump System Capital Cost | 4460
|  |  | Annual Pump O&M, $ | 24
*Calculated from MATLAB and Excel Inputs
**Assuming generator operates 12 h/d
Diesel Fuel Consumption
From https://www.globalpwr.com/power-calculator/:
Generator Power, W | Diesel, l/h*
700 | 0.1
2000 | 0.2
3300 | 0.3
4600 | 0.4
5900 | 0.5
7200 | 0.6
8400 | 0.7
9600 | 0.8
*Full load
Diesel Fuel, l/W/h (Full Load) = (0.042041 + 0.0000783 P)/P
where P = Generator Power, W
If P = 1200 W,
Diesel Fuel, l/W/h (Full Load) = (0.042041 + 0.0000783 x 1200) / 1200 = 0.000113